## Summary
HVAC Boiler Replacement Estimate
Fictional Copper Finch HVAC — working estimate based only on entered scope and assumptions.
Customer |  | Included Estimate
Job |  | Optional Add-Ons
Estimate Date |  | Pending Review
Technician |  | Included Cost
Equipment |  | Gross Margin
Gross Margin %
Included Labor Hours
Included Price by Category |  | Scope Lines
Category | Included Price | Excluded Lines
Human Checks Needed
Review optional, excluded, and pending items before presenting the estimate.

## Estimate Lines
Boiler Replacement Estimate Lines
Peach cells are editable. All examples are fictional; review scope, responsibility, status, and assumptions before use.
Customer | Fictional Juniper Community Hall |  | Job | Fictional Boiler Room Renewal |  | Estimate Date | 2026-09-11 |  | Technician | Casey Example |  | Equipment | Fictional Existing 300 MBH Boiler
Pricing Basis | Labor rate and category markups come from the editable Assumptions sheet.
Line | Category | Description | Quantity | Unit | Material Unit Cost | Labor Hours / Unit | Labor Hours | Material Cost | Labor Cost | Total Cost | Markup Override | Applied Markup | Estimated Price | Responsibility | Status
| Boiler | Condensing boiler package | 1 | each | 16800 | 20 | [7 empty] | Contractor | Included
| Pump | Primary circulator pump package | 2 | each | 1350 | 3.5 | [7 empty] | Contractor | Included
| Piping | Near-boiler steel piping allowance | 60 | ft | 38 | 0.18 | [7 empty] | Contractor | Included
| Controls | Boiler staging and outdoor reset controls | 1 | lot | 4200 | 12 | [7 empty] | Contractor | Included
| Venting | Sealed combustion venting allowance | 35 | ft | 92 | 0.25 | [7 empty] | Contractor | Included
| Removal | Drain, disconnect, and remove existing boiler | 1 | lot | 800 | 16 |  |  |  |  | 20% |  |  | Contractor | Included
| Other | Startup and owner orientation labor allowance | 1 | lot | 0 | 6 | [7 empty] | Contractor | Included
| Pump | Secondary circulator add-on | 1 | each | 1250 | 4 | [7 empty] | Contractor | Optional
| Piping | Concealed piping contingency allowance | 1 | allowance | 3200 | 12 | [7 empty] | Shared | Pending Review
| Controls | Existing building control interface allowance | 1 | lot | 1800 | 8 | [7 empty] | Customer | Excluded

## Assumptions
Estimate Assumptions and Entry Lists
Peach cells are editable. Rates, limits, markups, and choices are contractor inputs and should be reviewed for each estimate.
Pricing and Entry Limit | Value | Unit | Purpose | Category | Default Markup | Unit Choices | Responsibility Choices | Status Choices
Labor rate | 138 | $ per labor hour | Used for line labor cost | Boiler | 25% | each | Contractor | Included
Default markup | 25% | percent | Fallback if no category markup is found | Pump | 25% | lot | Customer | Optional
Maximum quantity per line | 1000 | entered units | Quantity validation limit | Piping | 28% | ft | Shared | Excluded
Maximum material unit cost | 100000 | US dollars | Material cost validation limit | Controls | 30% | lb |  | Pending Review
Maximum labor hours per unit | 200 | labor hours | Labor entry validation limit | Venting | 28% | gal
Maximum markup override | 100% | percent | Markup override validation limit | Removal | 22% | hour
Earliest estimate date | 2025-01-01 | date | Estimate date validation | Other | 25% | day
Latest estimate date | 2028-12-31 | date | Estimate date validation |  |  | allowance
Pricing note | These assumptions support a working estimate only. Confirm scope, site conditions, selections, and commercial terms before use.