## Summary
HVAC Callback Tracker Summary
Indicators use only the callback log and editable assumptions. |  |  |  |  | Workbook date
Recorded callbacks |  | Open / in progress |  | Resolved / closed | Review flags
Total callback cost estimate |  | Customer price total |  | Average days to callback | Average resolution days
Open callback cost estimate |  | Resolved callback cost estimate |  | Average labor hours | Open within aging limit
Cause | Callback Count |  | Responsible Team | Cost Estimate
Installation |  |  | Installation Team
Diagnosis |  |  | Service Team
Part Failure |  |  | Maintenance Team
Maintenance |  |  | Customer/Site
Customer/Site |  |  | Manufacturer
Undetermined |  |  | Unassigned

## Callbacks
HVAC Callback Log
Enter callback records in orange cells. Calculated fields are shaded blue; review flags require a human check.
All examples are fictional and use sample identifiers.
Callback ID | Original Work Order | Customer | Equipment | Original Technician | Original Service Date | Callback Date | Days to Callback | Callback Description | Cause | Responsible Team | Labor Hours | Labor Cost | Parts Qty | Parts Unit | Parts Cost | Other Cost | Total Callback Cost | Customer Price | Resolution / Next Step | Status | Resolved Date | Resolution Days | Review Flag
SAMPLE-CB-001 | SAMPLE-WO-2601 | Fictional Pinecone Bakery | Demo split-system air conditioner | Sample Technician A | 2026-08-01 | 2026-08-04 |  | Cooling call returned; loose thermostat conductor was found. | Installation | Installation Team | 2.5 |  |  | each | 0 | 0 |  | 0 | Conductor was secured and system operation was observed. | Resolved | 2026-08-04
SAMPLE-CB-002 | SAMPLE-WO-2602 | Fictional Blue Kite Books | Demo rooftop unit, 5 tons | Sample Technician B | 2026-08-08 | 2026-08-20 |  | Supply fan noise returned after the original repair. | Installation | Installation Team | 4 |  | 1 | kit | 185 | 25 |  | 0 | Fan mounting kit was adjusted and the unit was rechecked. | Closed | 2026-08-21
SAMPLE-CB-003 | SAMPLE-WO-2603 | Fictional Paper Moon Studio | Demo heat pump, 3 tons | Sample Technician C | 2026-09-08 | 2026-09-10 |  | Intermittent cooling concern continued after diagnosis. | Diagnosis | Service Team | 1.5 |  | 0 | each | 0 | 0 |  |  | Senior technician review is requested before the next visit. | Open
SAMPLE-CB-004 | SAMPLE-WO-2604 | Fictional Copper Finch Gallery | Demo gas furnace, 80,000 Btu/h | Sample Technician D | 2026-08-15 | 2026-09-11 |  | Blower relay operation became intermittent. | Part Failure | Manufacturer | 0.75 |  | 1 | each | 0 | 0 |  | 0 | A visit is scheduled to inspect relay operation. | Scheduled
SAMPLE-CB-005 | SAMPLE-WO-2605 | Fictional Lantern Trail Daycare | Demo packaged air conditioner, 4 tons | Sample Technician A | 2026-08-29 | 2026-09-01 |  | Space temperature drifted after a maintenance visit. | Maintenance | Maintenance Team | 2 |  | 1 | each | 35 | 0 |  | 0 | Filter fit was corrected; site conditions remain under observation. | Monitoring
SAMPLE-CB-006 | SAMPLE-WO-2606 | Fictional Marble Fox Cafe | Demo ductless heat pump, 24,000 Btu/h | Sample Technician E | 2026-07-10 | 2026-07-17 |  | Condensate issue returned after furniture blocked airflow. | Customer/Site | Customer/Site | 2 |  | 0 | each | 0 | 0 |  | 220 | Airflow path was cleared and drain operation was demonstrated. | Resolved | 2026-07-18
SAMPLE-CB-007 | SAMPLE-WO-2607 | Fictional Juniper Toy Workshop | Demo air handler, 3.5 tons | Sample Technician B | 2026-06-15 | 2026-07-20 |  | Airflow complaint returned after an earlier balancing visit. | Diagnosis | Service Team | 8 |  | 2 | each | 206 | 0 |  | 0 | Duct restriction was located and register settings were documented. | Closed | 2026-07-21
SAMPLE-CB-008 | SAMPLE-WO-2608 | Fictional Velvet Acorn Theater | Demo rooftop unit, 7.5 tons | Sample Technician F | 2026-08-18 | 2026-08-26 |  | Economizer operation remained inconsistent after service. | Diagnosis | Service Team | 6 |  | 1 | kit | 390 | 0 |  | 0 | Damper linkage was reset and operation was observed. | Resolved | 2026-08-28
SAMPLE-CB-009 | SAMPLE-WO-2609 | Fictional Cloudberry Quilt Shop | Demo gas furnace, 60,000 Btu/h | Sample Technician C | 2026-08-03 | 2026-08-20 |  | Ignition concern returned intermittently. | Undetermined | Unassigned | 1.5 |  | 0 | each | 0 | 0 |  |  | Cause remains under review before another visit is assigned. | Open
SAMPLE-CB-010 | SAMPLE-WO-2610 | Fictional Silver Comet Florist | Demo walk-in cooler condensing unit | Sample Technician D | 2026-08-31 | 2026-09-05 |  | Temperature control remained unstable after maintenance. | Maintenance | Maintenance Team | 8.5 |  | 1 | each | 45 | 0 |  | 0 | Control response is being monitored after adjustment. | Monitoring

## Assumptions
HVAC Callback Tracker Assumptions
Edit the orange cells to match internal review practices. These values are planning assumptions, not guarantees.
Editable Setting | Value
Aging review limit (days) | 14
Loaded labor cost estimate ($/labor hour) | 68
Labor review threshold (hours) | 8
Callback cost review threshold ($) | 750
Maximum labor entry (hours) | 24
Maximum parts quantity | 100
Earliest allowed service date | 2024-01-01
Latest allowed service date | 2027-12-31
Review guidance
A review flag is a prompt for a person to check the record.
Loaded labor cost is an editable internal estimate used only for workbook calculations.
Status, cause, responsibility, and unit choices are stable lists in the callback log.