## Summary
HVAC Equipment Service History Log
Fictional examples are included. Orange cells are editable; review alerts require a human check.
Indicator | Calculated Value | Service Status | Entries
Registered Equipment |  | Completed
Active Equipment |  | In Progress
Dated Service Entries |  | Deferred
Completed Entries |  | Planned
Past-Due Follow-Up Checks
Upcoming Follow-Ups in Horizon
Recorded Labor Hours
Recorded Service Cost
Recorded Price
Average Cost per Entry
Latest Service Date

## Equipment
Equipment Register
Enter fictional equipment records in orange cells. Service totals are calculated from the Service Log.
Equipment ID | Customer | Equipment Description | In-Service Date | Responsibility | Equipment Status | Service Entries | Recorded Service Cost
EQ-FIC-001 | Fictional Bluebird Bakery | Fictional Rooftop Unit A - 5 ton | 2020-02-16 | Customer | Active
EQ-FIC-002 | Fictional Copper Kettle Books | Fictional Split Heat Pump 1 - 3 ton | 2021-06-30 | Customer | Active
EQ-FIC-003 | Fictional Juniper Arts Studio | Fictional Air Handler East - 4 ton | 2022-04-26 | Contractor | Active
EQ-FIC-004 | Fictional Moonbeam Market | Fictional Packaged Unit North - 7.5 ton | 2019-01-12 | To Be Reviewed | To Be Reviewed
EQ-FIC-005 | Fictional Maple Kite Offices | Fictional Furnace Suite A - 90,000 Btu/h | 2020-12-12 | Customer | Active
EQ-FIC-006 | Fictional Harbor Lantern Cafe | Fictional Condensing Unit Rear - 4 ton | 2021-11-27 | Manufacturer | To Be Reviewed
EQ-FIC-007 | Fictional Bluebird Bakery | Fictional Make-Up Air Unit 1 - 2,500 CFM | 2023-01-01 | Customer | Active
EQ-FIC-008 | Fictional Copper Kettle Books | Fictional Mini-Split Reading Room - 18,000 Btu/h | 2024-03-26 | Contractor | Out of Service
EQ-FIC-009 | Fictional Juniper Arts Studio | Fictional Rooftop Unit West - 6 ton | 2018-03-18 | Customer | Out of Service
EQ-FIC-010 | Fictional Moonbeam Market | Fictional Unit Heater Stockroom - 75,000 Btu/h | 2016-11-03 | Customer | Retired

## Service Log
Service History Log
Enter each dated service event in orange cells. Calculated costs and review alerts update after recalculation.
Service Date | Job ID | Equipment ID | Customer | Equipment Description | Technician | Service Description | Parts / Readings / Notes | Quantity or Reading | Unit | Unit Cost | Parts Cost | Labor Hours | Labor Rate | Labor Cost | Total Cost | Recorded Price | Responsibility | Status | Follow-Up Date | Review Alert
2026-05-15 | JOB-FIC-1001 | EQ-FIC-001 |  |  | Fictional Tech Avery | Replaced pleated return-air filters | Four filters replaced; sizes recorded on fictional job notes. | 4 | Each | 18.5 |  | 1.5 |  |  |  | 290 | Customer | Completed
2026-05-30 | JOB-FIC-1002 | EQ-FIC-002 |  |  | Fictional Tech Morgan | Checked cooling temperature split | Recorded an 18 °F temperature difference for human review. | 18 | °F |  |  | 2 |  |  |  | 310 | Customer | Completed
2026-06-14 | JOB-FIC-1003 | EQ-FIC-001 |  |  | Fictional Tech Casey | Cleared and rinsed condensate drain | Added one fictional drain-treatment item. | 1 | Each | 12 |  | 1 |  |  |  | 190 | Customer | Completed
2026-06-29 | JOB-FIC-1004 | EQ-FIC-003 |  |  | Fictional Tech Rowan | Replaced contactor after diagnosis | Verified operation for the fictional service record. | 1 | Each | 86.75 |  | 2.25 |  |  |  | 495 | Contractor | Completed
2026-07-14 | JOB-FIC-1005 | EQ-FIC-004 |  |  | Fictional Tech Jordan | Measured supply airflow | Recorded 1,850 CFM; additional human review was requested. | 1850 | CFM |  |  | 1.25 |  |  |  | 165 | To Be Reviewed | Deferred | 2026-09-02
2026-07-29 | JOB-FIC-1006 | EQ-FIC-005 |  |  | Fictional Tech Skyler | Replaced blower belt | Fictional belt was adjusted and operation was observed. | 1 | Each | 34.25 |  | 1.5 |  |  |  | 285 | Customer | Completed
2026-08-13 | JOB-FIC-1007 | EQ-FIC-006 |  |  | Fictional Tech Avery | Checked operating pressure | Recorded 118 psi as a fictional service reading; no adjustment entered. | 118 | psi |  |  | 1.75 |  |  |  | 325 | Manufacturer | Completed
2026-08-25 | JOB-FIC-1008 | EQ-FIC-007 |  |  | Fictional Tech Morgan | Replaced thermostat batteries | Two fictional batteries were entered for service history. | 2 | Each | 6.5 |  | 0.75 |  |  |  | 145 | Customer | Completed
2026-09-04 | JOB-FIC-1009 | EQ-FIC-008 |  |  | Fictional Tech Casey | Investigated intermittent cooling call | Further observation is planned for this fictional equipment record. | 1 | Each |  |  | 3 |  |  |  |  | Contractor | In Progress | 2026-09-19
2026-09-10 | JOB-FIC-1010 | EQ-FIC-009 |  |  | Fictional Tech Rowan | Recorded extended blower motor replacement work | Labor hours use the editable maximum boundary for workbook testing. | 1 | Each | 680 |  | 24 |  |  |  | 4800 | To Be Reviewed | In Progress | 2026-09-11

## Assumptions
Editable Assumptions and Lists
Rates, limits, and choice lists are editable working assumptions. Review them before using the log.
Technician | Default Labor Rate | Limit or Setting | Editable Value | Service Status | Responsibility | Unit | Equipment Status
Fictional Tech Avery | 118 | Earliest Allowed Date | 2011-09-16 | Completed | Customer | Each | Active
Fictional Tech Morgan | 124 | Latest Allowed Date | 2027-09-12 | In Progress | Contractor | lb | Out of Service
Fictional Tech Casey | 112 | Maximum Quantity or Reading | 10000 | Deferred | Manufacturer | oz | Retired
Fictional Tech Rowan | 130 | Maximum Unit Cost | 50000 | Planned | To Be Reviewed | gal | To Be Reviewed
Fictional Tech Jordan | 116 | Maximum Labor Hours | 24 |  |  | ft
Fictional Tech Skyler | 121 | Maximum Recorded Price | 100000 |  |  | in
Fictional Tech Taylor | 115 | Follow-Up Horizon Days | 30 |  |  | psi
Fictional Tech Cameron | 127 | Maximum Labor Rate | 500 |  |  | °F
CFM
ton