## Summary
HVAC Filter Replacement Schedule Summary
Derived indicators update from the Setup, Filter Schedule, and Filter Stock sheets.
Current Alert
Planning Dates | Value
As of Date
Plan Through Date
Operating Indicators | Current Result
Active Schedule Lines
Overdue Lines
Due Today Lines
Due Soon Lines
Scheduled Later Lines
Missing Setup Lines
Future-Date Warnings
Filters Needed Through Plan Date
Filter Specifications Short for Planned Changes
Filter Specifications Below Reorder Point
Active Lines with No Stock Record
Stock Rows with Duplicate Specifications
Use this workbook for administrative scheduling and stock planning only. Review contractor-supplied information before scheduling work.

## Filter Schedule
Filter Schedule
Purpose | Maintain contractor-supplied filter replacement dates and administrative intervals. Use the filters in row 5 to review due dates and stock alerts.
Legend | User input | Calculated | Negative days mean the filter is overdue.
Active | Site | Unit Tag | Area Served | Nominal Width (inches) | Nominal Height (inches) | Nominal Thickness (inches) | MERV Rating | Filter Style | Filters per Change | Replacement Frequency (days) | Last Replaced Date | Next Due Date | Days Until Due | Schedule Status | Filter Specification | Stock Alert | Notes
Yes | Maple Demo Office | RTU-01 | Lobby | 16 | 20 | 1 | 8 | Pleated | 2 | 30 | 2026-08-10
Yes | Maple Demo Office | RTU-02 | Open Office | 16 | 20 | 1 | 8 | Pleated | 1 | 30 | 2026-08-20
Yes | Cedar Training Suite | AHU-01 | Classroom | 16 | 20 | 1 | 8 | Pleated | 2 | 60 | 2026-08-15
Yes | Pine Example Warehouse | MAU-01 | Shipping Area | 20 | 25 | 2 | 11 | Pleated | 4 | 60 | 2026-07-14
Yes | Harbor Sample Retail | RTU-01 | Sales Floor | 20 | 25 | 2 | 11 | Pleated | 2 | 30 | 2026-08-01
Yes | Harbor Sample Retail | RTU-02 | Stock Room | 20 | 25 | 2 | 11 | Pleated | 1 | 30
Yes | Birch Demo Office | AHU-01 | Meeting Area | 24 | 24 | 2 | 13 | Pleated | 2 | 60 | 2026-07-20
No | Oak Test Workshop | RTU-03 | Work Bay | 20 | 25 | 4 | 11 | Media Cabinet | 2 | 90 | 2026-06-20

## Filter Stock
Filter Stock
Purpose | Maintain stock quantities by filter specification. Demand is calculated from active schedule lines that are overdue, due today, or due soon.
Legend | User input | Calculated | Each populated row should represent one filter specification.
Filter Specification | Nominal Width (inches) | Nominal Height (inches) | Nominal Thickness (inches) | MERV Rating | Filter Style | On Hand | Reorder Point | Needed Through Plan Date | Remaining After Planned Changes | Stock Status | Suggested Restock Quantity | Notes
| 16 | 20 | 1 | 8 | Pleated | 2 | 4
| 20 | 25 | 2 | 11 | Pleated | 9 | 4
| 20 | 25 | 4 | 11 | Media Cabinet | 5 | 2

## Setup
HVAC Filter Schedule Setup
Assumption | Editable Value | Active Options | Filter Styles
As of Date | 2026-09-12 | Yes | Pleated
Plan Ahead Days | 14 | No | Fiberglass Panel
Media Cabinet
Cartridge
Administrative Use Note
Enter administrative schedule and stock information supplied by the contractor. This workbook does not size equipment, prescribe filter ratings, or certify code compliance.