## Summary
Furnace Installation Estimate Summary
Estimate Context |  |  | Cost Indicators
Customer |  |  | Material Cost
Job |  |  | Labor Cost
Equipment |  |  | Markup Amount
Estimate Date |  |  | Priced Subtotal
Technician |  |  | Contingency
Estimate Total
Labor Hours
Priced Lines
Needs Review
Excluded Lines
Category | Price | Share
Review Prompts
Scope Status
Exclusions
Before Presenting

## Estimate Lines
HVAC Furnace Installation Estimate — Fictional Sample
Estimate Information
Customer |  | Fictional Blue Lantern Test Home |  |  | Estimate Date |  | 2026-09-11
Job |  | Sample Furnace Replacement Estimate |  |  | Technician |  | Fictional Technician A
Equipment |  | FictionalAir Demo 80,000 BTU two-stage furnace
Entry Note |  | Orange cells are editable. Review quantities, field conditions, scope status, and assumptions before presenting.
Line | Category | Description | Quantity | Unit | Unit Cost | Labor Hours | Labor Rate | Material Cost | Labor Cost | Markup | Line Price | Responsibility | Status
| Equipment | FictionalAir Demo 80,000 BTU two-stage furnace | 1 | Each | 2825 | 6 | [5 empty] | Contractor | Included
| Venting | 4-inch Type B vent connector allowance; verify route | 18 | Feet | 14.5 | 2.5 | [5 empty] | Contractor | Needs Review
| Sheet Metal | Supply plenum transition fabrication | 1 | Each | 520 | 4 | [5 empty] | Contractor | Included
| Sheet Metal | Return-air drop adjustment | 1 | Each | 380 | 3 | [5 empty] | Contractor | Included
| Controls | Fictional programmable thermostat | 1 | Each | 145 | 1.5 | [5 empty] | Contractor | Included
| Controls | Low-voltage wiring and control setup | 1 | Job | 90 | 2 | [5 empty] | Contractor | Included
| Labor | Removal and handling of sample existing furnace | 1 | Job | 0 | 4 | [5 empty] | Contractor | Included
| Miscellaneous | Condensate drain materials allowance | 20 | Feet | 5.5 | 2 | [5 empty] | Allowance | Included
| Miscellaneous | Optional media filter cabinet | 1 | Each | 420 | 2 | [5 empty] | Customer | Excluded
| Labor | Start-up checks and customer walk-through | 1 | Job | 0 | 3 | [5 empty] | Contractor | Included

## Assumptions
Estimate Assumptions and Entry Limits
Assumption | Editable Value | Units | Statuses | Responsibilities
Default Labor Rate | 118 | Each | Included | Contractor
Contingency Rate | 3% | Job | Needs Review | Customer
Maximum Line Quantity | 1000 | Feet | Excluded | Allowance
Maximum Labor Hours | 500 | Inches
Maximum Unit Cost | 100000 | Set
Pounds
Category | Markup Rate
Equipment | 18%
Venting | 25%
Sheet Metal | 25%
Controls | 22%
Labor | 15%
Miscellaneous | 20%
Use Note
These editable rates and limits are contractor inputs for this fictional estimate. They are not guaranteed prices, engineering results, or compliance determinations.