## Summary
HVAC Leak Inspection Log Summary
Indicator | Calculated Value | Inspection Result | Count
Inspections Logged |  | No Leak Found
Confirmed Leaks |  | Leak Suspected
Records Not Closed |  | Leak Confirmed
Past-Due Follow-Ups |  | Unable to Complete
Due Soon
Labor Hours
Estimated Internal Cost
Quoted Price
Closed Share

## Leak Log
HVAC Leak Inspection Log
Enter one row per inspection. Peach cells are editable, and all sample records are fictional.
Alerts request a human check. Cost uses the editable labor rate and entered material cost; prices are planning entries only.
Inspection ID | Customer | Job | Equipment | Technician | Inspection Date | Refrigerant | Test Method | Inspection Result | Finding Description | Leak Quantity | Unit | Corrective Action | Labor Hours | Material Cost | Quoted Price | Responsibility | Work Status | Follow-Up Date | Days to Follow-Up | Follow-Up Alert | Estimated Internal Cost
DEMO-LK-26001 | Fictional Blue Comet Cafe | DEMO-JOB-26101 | Training RTU-01 | Demo Tech A | 2026-08-23 | R-410A | Electronic Detector | Leak Confirmed | Detector response at the suction service valve core. | 1.5 | lb | Replaced the valve core and cap; return check scheduled. | 2.5 | 38 | 420 | Customer | Follow-Up Scheduled | 2026-09-15
DEMO-LK-26002 | Fictional Copper Moon Books | DEMO-JOB-26102 | Demo Split System-02 | Demo Tech B | 2026-08-25 | R-32 | Nitrogen Pressure | No Leak Found | No pressure change was observed during the documented test window. |  |  | No corrective action entered; baseline reading retained. | 1.2 | 0 | 185 | Contractor | Closed
DEMO-LK-26003 | Fictional North Star Toy Lab | DEMO-JOB-26103 | Training Air Handler-03 | Demo Tech C | 2026-08-27 | R-410A | Bubble Solution | Leak Suspected | Intermittent bubbles appeared near an evaporator flare connection. |  |  | Documented the location for a repeat inspection. | 1 | 0 | 160 | To Review | Monitoring | 2026-09-11
DEMO-LK-26004 | Fictional Paper Airship Studio | DEMO-JOB-26104 | Demo Package Unit-04 | Demo Tech A | 2026-08-29 | R-454B | Visual Inspection | Unable to Complete | Panel fasteners prevented a complete view of the indoor coil. |  |  | Plan a return inspection with appropriate service preparation. | 0.8 | 0 | 95 | To Review | Action Planned | 2026-09-22
DEMO-LK-26005 | Fictional Velvet Wrench Theater | DEMO-JOB-26105 | Training Mini-Split-05 | Demo Tech B | 2026-08-31 | R-32 | Electronic Detector | Leak Confirmed | Repeated detector response was recorded at an outdoor flare joint. | 0.4 | lb | Replaced the joint gasket and scheduled a return check. | 3 | 72 | 610 | Customer | Follow-Up Scheduled | 2026-09-19
DEMO-LK-26006 | Fictional Acorn Pixel Arcade | DEMO-JOB-26106 | Demo Rooftop Unit-06 | Demo Tech D | 2026-09-02 | R-410A | Visual Inspection | No Leak Found | Water near the cabinet was traced to the condensate drain area. |  |  | Cleared visible drain debris and recorded the inspection. | 1.5 | 18 | 240 | Customer | Closed
DEMO-LK-26007 | Fictional Sundial Cake Lab | DEMO-JOB-26107 | Training Condensing Unit-07 | Demo Tech C | 2026-09-04 | R-407C | UV Dye | Leak Confirmed | A dye trace was observed near a distributor tube joint. | 0.8 | lb | Documented the location and requested a repair evaluation. | 1.7 | 0 | 220 | To Review | Open
DEMO-LK-26008 | Fictional Marble Kite Workshop | DEMO-JOB-26108 | Demo Heat Pump-08 | Demo Tech D | 2026-09-06 | R-410A | Ultrasonic | Leak Suspected | An intermittent sound was noted near a condenser return bend. |  |  | Repeat the test under stable operating conditions. | 1.1 | 0 | 175 | Contractor | Follow-Up Scheduled | 2026-10-12
DEMO-LK-26009 | Fictional Green Rocket Gallery | DEMO-JOB-26109 | Training Walk-In Condenser-09 | Demo Tech A | 2026-09-08 | R-404A | Electronic Detector | Leak Confirmed | Detector response was recorded at the liquid-line access core. | 6 | oz | Replaced the access core and cap; final condition was documented. | 2 | 32 | 345 | Contractor | Closed | 2026-09-10
DEMO-LK-26010 | Fictional Lantern Fox Market | DEMO-JOB-26110 | Demo Air-Cooled Chiller-10 | Demo Tech B | 2026-09-10 | R-134a | Nitrogen Pressure | No Leak Found | Pressure held during the documented inspection window. |  |  | No corrective action entered; the reading was retained. | 2.2 | 12 | 285 | Not Assigned | Closed

## Assumptions
Assumptions and Editable Lists
Peach cells are editable. Limits support consistent entry and do not represent engineering, pricing, or compliance requirements.
Labor Rate for Estimate ($/hour) | 95
Due Soon Window (days) | 7
Report As-Of Date | 2026-09-12
Earliest Allowed Date | 2021-09-13
Latest Allowed Date | 2028-09-11
Maximum Entered Leak Quantity | 500
Maximum Labor Hours per Inspection | 24
|  | Test Method | Inspection Result | Unit | Responsibility | Work Status | Refrigerant
|  | Electronic Detector | No Leak Found | lb | Customer | Open | R-410A
|  | Bubble Solution | Leak Suspected | oz | Contractor | Action Planned | R-22
|  | Nitrogen Pressure | Leak Confirmed |  | Manufacturer | Follow-Up Scheduled | R-32
|  | Ultrasonic | Unable to Complete |  | To Review | Monitoring | R-134a
|  | UV Dye |  |  | Not Assigned | Closed | R-454B
|  | Visual Inspection |  |  |  |  | R-407C
R-404A
Other / Unknown