## Summary
HVAC Maintenance Checklist Summary
Fictional example workbook. Indicators are calculated only from entered maintenance checklist rows.
Calculated as of
Indicator | Calculated Value | Task Status | Task Count
Checklist rows entered |  | Completed
Completed tasks |  | Needs Attention
Needs attention |  | Not Applicable
Not checked |  | Not Checked
Human review flags
Recorded labor hours
Recorded material cost
Entered service price
Completed task rate
Latest service date
A Human Review flag is a prompt based on entered statuses or missing checklist details. It is not an automated service decision.

## Maintenance Log
HVAC Maintenance Checklist
Enter one row per maintenance task. Orange cells are editable; review flags prompt a human check. Entered prices are not estimates or guarantees.
Color key: | Editable input | Calculated review flag
Service Date | Job ID | Customer | Equipment | Technician | Maintenance Task | Task Status | Finding / Action | Quantity | Unit | Labor Hours | Material Cost | Entered Price | Responsibility | Follow-up Status | Follow-up Date | Review Flag (Calculated)
2026-08-15 | DEMO-JOB-2026-001 | Fictional Maple Corner Cafe | DEMO-RTU-01 (5 ton) | Fictional Tech A | Inspect and replace air filter | Completed | Replaced a demo 20 x 25 x 2 inch filter. | 1 | Each | 0.4 | 18.5 | 42 | Contractor Review | None
2026-08-15 | DEMO-JOB-2026-001 | Fictional Maple Corner Cafe | DEMO-RTU-01 (5 ton) | Fictional Tech A | Inspect condensate drain | Completed | Flushed the accessible 8-foot demo drain section. | 8 | feet | 0.6 | 4.25 | 80 | Contractor Review | None
2026-08-23 | DEMO-JOB-2026-002 | Fictional Bluebird Print Shop | DEMO-HP-02 (3 ton) | Fictional Tech B | Inspect electrical connections | Needs Attention | Demo contactor showed visible pitting; human review is recommended. | 1 | Each | 0.5 | 0 | 65 | Customer Decision | Quote Requested | 2026-09-15
2026-08-23 | DEMO-JOB-2026-002 | Fictional Bluebird Print Shop | DEMO-HP-02 (3 ton) | Fictional Tech B | Record supply and return temperature split | Completed | Recorded an 18 °F temperature split during this visit. | 18 | °F | 0.3 |  | 45 | Contractor Review | None
2026-08-29 | DEMO-JOB-2026-003 | Fictional Cedar Lane Studio | DEMO-MS-03 (2 ton) | Fictional Tech C | Clean indoor coil and washable filter | Completed | Removed light dust from the demo indoor unit. | 1 | Each | 1.1 | 7.5 | 135 | Contractor Review | None
2026-09-02 | DEMO-JOB-2026-004 | Fictional Harborview Books | DEMO-RTU-04 (7.5 ton) | Fictional Supervisor | Verify thermostat schedule | Not Checked | Schedule review was deferred for a human follow-up. |  |  | 0.1 |  |  | Customer Decision | Scheduled | 2026-09-17
2026-09-05 | DEMO-JOB-2026-005 | Fictional Sunrise Pet Supply | DEMO-PKG-05 (5 ton) | Fictional Tech A | Inspect blower belt condition | Completed | Demo belt was aligned and the earlier note was closed. | 1 | Each | 0.5 | 0 | 68 | Contractor Review | Resolved | 2026-09-11
2026-09-08 | DEMO-JOB-2026-006 | Fictional Mockingbird Gallery | DEMO-RTU-06 (4 ton) | Fictional Tech B | Inspect refrigerant line insulation | Needs Attention | About 2 feet of demo insulation was torn; monitor and review. | 2 | feet | 0.4 | 0 | 55 | Customer Decision | Monitor | 2026-09-26
2026-09-10 | DEMO-JOB-2026-007 | Fictional Example Office | DEMO-AHU-07 | Fictional Tech C | Inspect humidifier pad | Not Applicable | No humidifier is included on this demo equipment. |  |  | 0 |  |  | Not Assigned | None
2026-09-12 | DEMO-JOB-2026-008 | Fictional Willow Toy Shop | DEMO-HP-08 (3 ton) | Fictional Tech A | Clean outdoor coil surface | Completed | Removed loose debris from the demo outdoor coil. | 1 | Each | 0.8 | 6.75 | 110 | Contractor Review | None

## Assumptions
HVAC Maintenance Checklist Assumptions
Editable limits |  |  | Task Status | Unit | Responsibility | Follow-up Status | Technician
Setting | Value | Purpose | Completed | Each | Contractor Review | None | Fictional Tech A
Earliest allowed service date | 2024-09-12 | Used by date validation | Needs Attention | feet | Customer Decision | Monitor | Fictional Tech B
Latest allowed service date | 2027-09-12 | Used by date validation | Not Applicable | inches | Shared Review | Quote Requested | Fictional Tech C
Maximum quantity per row | 1000 | Prevents unusually large quantity entries | Not Checked | lb | Not Assigned | Scheduled | Fictional Supervisor
Maximum labor hours per row | 24 | Prevents unusually large labor entries |  | gallons |  | Resolved
Maximum cost or price per row | 100000 | Limits individual dollar entries |  | °F
psi
CFM
Edit limits and stable choices as needed. Blank optional amounts are allowed, and zero is accepted as the lower numeric boundary.