## Summary
HVAC Maintenance Inspection Summary
Calculated Indicator | Current Value | Equipment Condition | Items
Inspection items |  | Good
Jobs represented |  | Monitor
Open work items |  | Needs Service
Items pending approval review |  | Out of Service
Out-of-service items |  | Not Assessed
Items older than alert limit
Total labor hours
Total estimated cost
Total estimated price
Estimated price less cost
Approval rate
Latest inspection date
Photo references entered

## Inspection Items
HVAC Maintenance Inspection Report
Enter one observed item per row. Peach cells are editable; Estimated Cost is calculated from quantity, unit cost, labor hours, and the editable labor-cost assumption.
Loaded labor cost per hour
Inspection Date | Job ID | Customer | Equipment | Technician | Equipment Condition | Observed Condition / Deficiency | Recommended Work | Quantity | Unit | Unit Cost | Labor Hours | Estimated Cost | Estimated Price | Responsibility | Work Status | Photo Reference | Approval Status
2026-09-10 | DEMO-JOB-001 | Bluebird Example Bakery | Demo RTU-1 | Avery Fiction | Monitor | Return-air filters appeared visibly loaded during the inspection. | Replace the two 16 x 20 x 2 in filters after customer review. | 2 | filter | 18 | 0.5 |  | 95 | Contractor | Recommended | Fictional photo A1 | Pending Review
2026-09-10 | DEMO-JOB-001 | Bluebird Example Bakery | Demo RTU-1 | Avery Fiction | Needs Service | The visible belt surface showed cracking and light edge wear. | Inspect belt alignment and replace the belt if approved. | 1 | belt | 32 | 1.2 |  | 185 | Customer | Quoted | Fictional photo A2 | Pending Review
2026-09-10 | DEMO-JOB-001 | Bluebird Example Bakery | Demo RTU-1 | Avery Fiction | Needs Service | Light residue was visible near the condensate drain opening. | Clean and flush the accessible drain section after approval. | 1 | service item | 12 | 0.8 |  | 125 | Contractor | Approved | Fictional photo A3 | Approved
2026-09-02 | DEMO-JOB-002 | Northstar Fictional Offices | Sample AHU-A | Jordan Sample | Good | No visible deficiency was noted for this inspection item. | Continue routine maintenance and observation. | 0 | each | 0 | 0 |  | 0 | To Be Assigned | Not Applicable |  | Not Required
2026-08-28 | DEMO-JOB-002 | Northstar Fictional Offices | Demo VAV-2 | Jordan Sample | Monitor | Displayed room temperature differed from the handheld reading during this visit. | Verify the control reading and setpoint before changing components. | 1 | service item | 0 | 0.7 |  | 85 | Property Manager | Recommended | Fictional photo B1 | Pending Review
2026-08-21 | DEMO-JOB-003 | Copper Kite Sample Shop | Sample Split System-A | Casey Example | Needs Service | Loose debris was visible on part of the outdoor coil face. | Clean the accessible coil surface if the proposed work is approved. | 1 | service item | 20 | 1.5 |  | 210 | Customer | Deferred | Fictional photo C1 | Declined
2026-09-11 | DEMO-JOB-004 | Paper Moon Fictional Studio | Demo Mini-Split-1 | Morgan Demo | Out of Service | The indoor unit did not start during the inspection attempt. | Have a qualified technician diagnose power and controls before further operation. | 1 | service item | 0 | 2 |  | 240 | Customer | Observed | Fictional photo D1 | Pending Review
2026-08-08 | DEMO-JOB-005 | Juniper Example Community Room | Demo Furnace-1 | Casey Example | Needs Service | The unit required a second call for heat during this visit. | Perform further diagnostic work and clean accessible ignition components if approved. | 1 | service item | 15 | 1 |  | 195 | Customer | Scheduled | Fictional photo E1 | Approved
2026-08-08 | DEMO-JOB-005 | Juniper Example Community Room | Demo Furnace-1 | Casey Example | Good | The visible filter fit and cabinet condition appeared acceptable. | Continue routine filter checks. | 0 | each | 0 | 0 |  | 0 | Contractor | Completed |  | Not Required
2026-09-09 | DEMO-JOB-006 | Bluebird Example Bakery | Demo RTU-2 | Avery Fiction | Not Assessed | The inspection stopped because accessible panel fasteners were damaged. | Arrange repair of the panel fasteners before a follow-up inspection. | 1 | service item | 25 | 0.5 |  | 120 | Property Manager | Observed | Fictional photo F1 | Not Requested

## Assumptions
HVAC Maintenance Inspection Report Assumptions
Assumption | Editable Value | Use in Workbook | Condition Choices | Unit Choices | Responsibility Choices | Work Status Choices | Approval Status Choices | Technician Choices
Loaded labor cost per hour | 48 | Used to calculate estimated cost. | Good | each | Customer | Observed | Not Requested | Avery Fiction
Age alert days | 30 | Prompts review of older inspection items. | Monitor | filter | Contractor | Recommended | Pending Review | Jordan Sample
Earliest allowed inspection date | 2024-01-01 | Lower date limit for entered inspections. | Needs Service | belt | Manufacturer | Quoted | Approved | Casey Example
Latest allowed inspection date | 2027-09-12 | Upper date limit for entered inspections. | Out of Service | lb | Property Manager | Approved | Declined | Morgan Demo
Maximum quantity per item | 10000 | Upper quantity entry limit. | Not Assessed | ft | To Be Assigned | Scheduled | Not Required
Maximum labor hours per item | 80 | Upper labor-hour entry limit. |  | in |  | Completed
Maximum unit cost | 100000 | Upper unit-cost entry limit. |  | gal |  | Deferred
Maximum estimated price | 250000 | Upper estimated-price entry limit. |  | service item |  | Not Applicable
Use these editable values for planning only. Confirm scope, pricing, responsibility, and approval with a person before work.
Edits to the choice lists feed the validation lists on Inspection Items.