## Summary
HVAC Preventive Maintenance Schedule Summary
Indicators recalculate from entered schedule data. Review due alerts and agreement details before assigning field work.
Indicator | Value
Entered maintenance plans
Active plans
Overdue plans
Plans due soon
Scheduled beyond warning window
Plans on hold
Retired plans
Estimated labor hours due or overdue
Due Status | Plans
Overdue
Due Soon
Scheduled
On Hold
Retired
Check Needed

## PM Schedule
HVAC Preventive Maintenance Schedule
Enter recurring plan details in the shaded cells. Due alerts are planning prompts and should be checked against the applicable agreement.
PM Plan ID | Customer | Service Location | Equipment ID | Equipment Description | Frequency | Last Service Date | Next Due Date | Assigned Technician | Task Description | Estimated Labor Hours | Responsibility | Plan Status | Due Status
DEMO-PM-001 | Fictional Blue Pine Bakery | 101 Example Avenue, Demo Springs, CO 00000 | DEMO-RTU-001 | Demo rooftop packaged unit, 5 tons | Monthly | 2026-07-29 |  | Casey Example (Fictional) | Inspect filters, belts, drain, and operating controls. | 2.5 | Contractor | Active
DEMO-PM-002 | Fictional Sunset Paper Studio | 202 Sample Street, Mock Valley, AZ 00000 | DEMO-HP-002 | Demo split heat pump, 3 tons | Quarterly | 2026-06-24 |  | Riley Sample (Fictional) | Inspect coils, filters, condensate path, and thermostat operation. | 2 | Shared | Active
DEMO-PM-003 | Fictional Harbor Lantern Library | 303 Fiction Road, Test Harbor, ME 00000 | DEMO-AHU-003 | Demo air-handling unit, 7.5 tons | Semiannual | 2026-04-05 |  | Morgan Demo (Fictional) | Inspect filters, fan section, belts, bearings, and drain pan. | 4 | Contractor | Active
DEMO-PM-004 | Fictional Red Maple Workshop | 404 Placeholder Lane, Demo Falls, OH 00000 | DEMO-FUR-004 | Demo gas furnace, 90,000 Btu/h | Annual | 2026-02-24 |  | Casey Example (Fictional) | Inspect heat section, blower, filter, controls, and vent condition. | 3 | Contractor | Active
DEMO-PM-005 | Fictional Silver Finch Market | 505 Example Court, Sample Ridge, TX 00000 | DEMO-RTU-005 | Demo rooftop packaged unit, 10 tons | Quarterly | 2026-06-04 |  | Riley Sample (Fictional) | Inspect filters, economizer components, belts, coils, and drains. | 4.5 | Shared | Active
DEMO-PM-006 | Fictional Moonrise Dance Hall | 606 Sample Boulevard, Fiction Park, TN 00000 | DEMO-MAU-006 | Demo make-up air unit, 6,000 CFM | Every 2 Months | 2026-08-03 |  | Morgan Demo (Fictional) | Inspect filters, fan drive, intake condition, and operating controls. | 3.5 | Customer | Active
DEMO-PM-007 | Fictional Prairie Kite Gallery | 707 Fiction Avenue, Mock Prairie, KS 00000 | DEMO-FCU-007 | Demo fan-coil unit, 24,000 Btu/h | Semiannual | 2026-08-23 |  | Casey Example (Fictional) | Inspect filter, coil, fan, condensate path, and valve operation. | 1.5 | Contractor | Active
DEMO-PM-008 | Fictional Cedar Clock Office | 808 Placeholder Street, Demo Grove, OR 00000 | DEMO-VRF-008 | Demo variable refrigerant system zone group | Annual | 2025-09-07 |  | Unassigned | Inspect indoor unit filters, coils, drains, and controller displays. | 5 | Shared | On Hold
DEMO-PM-009 | Fictional North Star Makerspace | 909 Example Drive, Test Crossing, MN 00000 | DEMO-EF-009 | Demo exhaust fan, 36 inches | Quarterly | 2026-09-07 |  | Riley Sample (Fictional) | Inspect fan wheel, belt, bearings, guards, and disconnect condition. | 1.5 | Customer | Retired
DEMO-PM-010 | Fictional Golden Acorn Cafe | 110 Sample Way, Fiction Terrace, NC 00000 | DEMO-HP-010 | Demo ducted heat pump, 4 tons | Monthly | 2026-09-12 |  | Morgan Demo (Fictional) | Inspect filter, drain, indoor fan, outdoor coil, and thermostat. | 2.5 | Contractor | Active
Formulas:
Due Status = IF([PM Plan ID]="","",IF([Plan Status]="On Hold","On Hold",IF([Plan Status]="Retired","Retired",IF([Plan Status]<>"Active","Check status",IF([Next Due Date]="","Check setup",IF([Next Due Date]<TODAY(),"Overdue",IF([Next Due Date]<=TODAY()+Assumptions!$B4,"Due Soon","Scheduled")))))))

## Assumptions
Preventive Maintenance Assumptions
Edit planning limits, intervals, and validation choices as needed. Confirm each interval against the applicable customer agreement.
Setting | Value | Use | Frequency | Interval Days | Technician Choices | Responsibility Choices | Plan Status Choices
Due Soon Window Days | 30 | Flags active plans due within this many calendar days. | Monthly | 30 | Casey Example (Fictional) | Contractor | Active
Maximum Labor Hours per Visit | 24 | Upper entry limit for estimated labor hours. | Every 2 Months | 61 | Riley Sample (Fictional) | Customer | On Hold
Earliest Allowed Service Date | 2016-09-14 | Lower date limit for last service entries. | Quarterly | 91 | Morgan Demo (Fictional) | Shared | Retired
Latest Allowed Service Date | 2026-09-12 | Upper date limit for last service entries. | Semiannual | 182 | Unassigned
|  |  | Annual | 365