## Summary
HVAC Repair Estimate Summary
Fictional Airflow Services ¦ All populated customer, job, equipment, employee, and estimate data is fictional.
Estimate Context
Customer |  |  | Job
Equipment |  |  | Technician
Estimate Date
Calculated Estimate Indicators
Lines Entered |  |  | Labor Hours
Direct Cost |  |  | All Line Estimated Price
Customer Approval Total (Proposed + Approved) |  |  | Approved Customer Total
Optional Customer Total |  |  | Contractor Responsibility Total
Declined Price |  |  | Incomplete Lines
Lines Above Review Threshold
Price by Line Type
Line Type | Direct Cost | Estimated Price

## Estimate Lines
HVAC Repair Estimate Lines
Fictional example for planning diagnostic labor, repair parts, repair labor, and allowances.
Estimate Details
Customer | Fictional Customer - Maple Test Site |  | Technician | Alex Example
Job | Demo Repair Job 1001 |  | Estimate Date | 2026-09-11
Equipment | Fictional Training Unit A - 3-ton split system
Light orange cells are editable. Review every quantity, responsibility, status, and calculated price before use.
Line | Line Type | Description | Quantity | Unit | Labor Hours | Unit Cost | Extended Cost | Markup | Labor Rate | Labor Price | Estimated Price | Responsibility | Status
| Diagnostic Labor | Initial diagnostic visit for fictional intermittent cooling concern | 1 | visit | 1.5 | 0 | [5 empty] | Customer | Approved
| Repair Part | Dual run capacitor for fictional training unit | 1 | each | 0.75 | 24.5 | [5 empty] | Customer | Proposed
| Repair Part | Two-pole contactor for fictional training unit | 1 | each | 1 | 42 | [5 empty] | Customer | Proposed
| Repair Part | Low-voltage fuse pack | 1 | pack | 0.25 | 8.25 | [5 empty] | Customer | Proposed
| Repair Labor | Electrical troubleshooting follow-up labor | 1 | job | 1.25 | 0 | [5 empty] | Customer | Proposed
| Repair Part | Condensate drain fitting kit | 1 | kit | 0.75 | 18.5 | [5 empty] | Contractor | Proposed
| Allowance | Refrigerant allowance up to entered quantity | 2 | lb | 0.5 | 38 | [5 empty] | Customer | Proposed
| Repair Part | Material-only return-air filter option | 1 | each | 0 | 12 | [5 empty] | Customer | Optional
| Allowance | Indoor coil cleaning material allowance | 1 | allowance | 1 | 15 | [5 empty] | Customer | Declined
| Repair Labor | Post-repair operating check for fictional unit | 1 | job | 0.5 | 0 | [5 empty] | Contractor | Approved

## Assumptions
HVAC Repair Estimate Assumptions
Editable planning defaults and stable validation choices for this fictional workbook.
Pricing Defaults |  |  | Validation Choices |  |  |  | Entry Limits
Line Type | Default Markup | Labor Rate | Unit | Responsibility | Status | Technician | Setting | Value
Diagnostic Labor | 0% | 145 | each | Customer | Proposed | Alex Example | Minimum nonnegative input | 0
Repair Part | 35% | 145 | hour | Contractor | Approved | Morgan Placeholder | Maximum quantity per line | 1000
Repair Labor | 0% | 145 | visit | Other | Declined | Riley Demo | Maximum labor hours per line | 80
Allowance | 10% | 145 | job |  | Optional |  | Maximum unit cost | 100000
|  |  | kit |  |  |  | Earliest estimate date | 2025-09-11
|  |  | pack |  |  |  | Latest estimate date | 2027-09-11
|  |  | lb |  |  |  | Line price review threshold | 5000
|  |  | ft |  |  |  | Maximum markup | 200%
|  |  | gallon |  |  |  | Maximum labor rate | 1000
allowance
[7 empty] | Review Note | These defaults are editable planning assumptions. Review them for each estimate; this workbook does not verify pricing, responsibility, coverage, or outside requirements.