## Summary
HVAC Service Call Log — Summary
Indicators recalculate from entered Service Calls data; all included examples are fictional.
Indicator | Value | Status | Calls
Calls Logged
Open Calls
Resolved Calls
Emergency / High Open
Unassigned Open
Human Checks Due
Labor Hours Entered
Recorded Service Price |  | Missing Status
Average Resolved Days

## Service Calls
HVAC Service Call Log
Orange cells are editable. Age and human-check columns calculate from entered dates, priority, and status.
All sample customers, technicians, sites, equipment, and service entries are fictional.
Call ID | Received Date | Customer | Job / Site | Equipment | Symptom / Description | Priority | Technician | Status | Responsibility | Labor Hours | Parts / Other Cost | Recorded Service Price | Resolution / Work Note | Closed Date | Age / Cycle Days | Human Check
DEMO-2026-001 | 2026-09-12 | Fictional Pine Workshop | Demo North Shop | Demo RTU-01 | No cooling; supply air feels warm. | Emergency | Avery Example (fictional) | In Progress | Contractor | 1.5 | 85 |  | Initial fictional diagnostic visit is in progress.
DEMO-2026-002 | 2026-09-09 | Fictional Harbor Books | Sample Main Floor | Demo Split-02 | Indoor unit runs; outdoor unit is quiet. | High | Blake Sample (fictional) | Waiting on Part | Contractor | 2.25 | 240 |  | Demo capacitor identified; replacement part requires review.
DEMO-2026-003 | 2026-09-05 | Fictional Copper Kettle Cafe | Example Kitchen | Demo MAU-03 | Intermittent airflow at opening. | Standard | Casey Fiction (fictional) | Resolved | Contractor | 3 | 110 | 625 | Replaced a fictional worn belt and verified demo operation. | 2026-09-07
DEMO-2026-004 | 2026-09-02 | Fictional Maple Studio | Sample Rear Suite | Demo HP-04 | Thermostat display is dim. | Low | Drew Demo (fictional) | Scheduled | Customer | 0 | 0 |  | Site visit requested for a customer-provided thermostat review.
DEMO-2026-005 | 2026-09-11 | Fictional Bluebird Market | Demo Sales Floor | Demo RTU-05 | Water seen near a ceiling diffuser. | High |  | New | Undetermined
DEMO-2026-006 | 2026-09-06 | Fictional Juniper Offices | Sample East Wing | Demo VAV-06 | One office is warmer than nearby rooms. | Standard | Casey Fiction (fictional) | Waiting on Customer | Customer | 1 | 0 | 195 | Requested a fictional access window from the customer.
DEMO-2026-007 | 2026-09-11 | Fictional Lantern Theater | Demo Lobby | Demo AHU-07 | Air handler stopped before a fictional rehearsal. | Emergency | Avery Example (fictional) | Resolved | Contractor | 4.5 | 320 | 980 | Reset a demo safety circuit and replaced a fictional control relay. | 2026-09-11
DEMO-2026-008 | 2026-09-10 | Fictional Acorn Office | Sample Suite 200 | Demo FCU-08 | Fan noise reported by an occupant. | Standard |  | Canceled | Undetermined | 0 | 0 |  | Duplicate fictional request; no visit was made. | 2026-09-11
DEMO-2026-009 | 2026-08-23 | Fictional Silver Thread Gallery | Demo West Room | Demo Mini-Split-09 | Unit stops after several minutes. | Low | Drew Demo (fictional) | Resolved | Contractor | 2.75 | 145 | 540 | Cleaned a fictional drain sensor and documented demo operation. | 2026-08-31
DEMO-2026-010 | 2026-09-12 | Fictional Red Cedar Print Shop | Sample Production Area | Demo Exhaust Fan-10 | Exhaust fan cycles unexpectedly. | High | Blake Sample (fictional) | In Progress | Manufacturer Review | 0.75 | 0 |  | Recorded demo control readings for a manufacturer review.
Formulas:
Age / Cycle Days = IF([Call ID]="","",IF([Received Date]="","",IF(OR([Status]="Resolved",[Status]="Canceled"),IF([Closed Date]="","",IFERROR(MAX(0,[Closed Date]-[Received Date]),"")),IFERROR(MAX(0,TODAY()-[Received Date]),""))))

## Assumptions
HVAC Service Call Log — Assumptions
Orange cells are editable. Review ages create a human-check prompt only; they are not response guarantees.
Replace fictional technician choices in place and adjust validation limits to fit the contractor's operating practice.
Priority | Review at Age (Days) | Status | Responsibility | Technician | Validation Item | Editable Limit
Emergency | 1 | New | Contractor | Avery Example (fictional) | Earliest Service Date | 2024-01-01
High | 2 | Scheduled | Customer | Blake Sample (fictional) | Latest Service Date | 2027-09-12
Standard | 5 | In Progress | Manufacturer Review | Casey Fiction (fictional)
Low | 10 | Waiting on Customer | Undetermined | Drew Demo (fictional)
|  | Waiting on Part |  |  | Maximum Labor Hours per Call | 100
|  | Resolved |  |  | Maximum Cost or Price Entry | 100000
|  | Canceled |  |  | Maximum Review Age in Days | 365